## Inverter-battery-capacity-calc
TrekBook India - Inverter & Battery Selection Guide
STEP 1 - Calculating Electrical Load of Home
YouTube Channel TrekBook India | APPLIANCES | Power Rating | Number of Appliances | TOTAL Power | YouTube Channel TrekBook India
|  | Watts | Numbers | Watts
| Zero Watt Bulb | 1 | 0 | 0
| CFL | 9 | 0 | 0
|  | 11 | 0 | 0
|  | 18 | 0 | 0
|  | 22 | 0 | 0
| Tube Light | 40 | 0 | 0
| Ceiling Fan | 60 | 0 | 0
| Table Fan | 60 | 0 | 0
| Internet Router | 10 | 0 | 0
| Mobile charger | 5 | 0 | 0
| Television(LCD) | 80 | 0 | 0
| Laptop charging | 120 | 0 | 0
| Computer with LCD | 80 | 0 | 0
| Computer with Monitor | 120 | 0 | 0
| Fridge 165 Liter | 100 | 0 | 0
| Mixer | 500 | 0 | 0
| Washing Machine | 325 | 0 | 0
| Total House Electrical Load |  |  | 0
| Total Wattage Load | Jurk load factor (25%) | Power Factor 0.8 | VA Required (Approx)
| 0 | 1.25 | 0.8 | 0
STEP 2 - Inverter VA Selection (Power Load/Inverter efficiency)
| Inverter Efficiency in % | VA Required |  | Inverter VA needed | INVERTER
| 80 | 0 |  | 0 | 0 VA
STEP 3 - Battery Ah Selection
| VA Load | Backup Hours | Battery Voltage | Battery Ah minimum | BATTERY
| 0 | 2 | 12 | 0 | 0 Ah